IP20

TECHNICAL IMAGE

DESIGN BY

Emilux Lighting Limited

DESCRIPTION

- Multi power for commercial and architectural lighting

- Average lighting with die-casting Aluminium material

- Average performance within different dimension

- External dimming system: Triac/ 0-10V/ Dali/Bluetooth/ Tuya/ Zigbee

| FEATURES Name: Colour: Installation: Application: |  | Track mobile tube light Matt black Magnetic Indoor |
| --- | --- | --- |
| CCT: Ra: LED Chip: Beam Angle: Lumen: | 3000K/4000K/5000k ≧90 OSRAM 120° 660(12w)/ 950(18w)/ 1300(24w)lm |  |
| AVAILABLE MODELS |  |  |
| Item | Power(w) | Size(mm) |
| EM-EH-GG-500 | 12 | L500*W35*H79 |
| EM-EH-GG-1000 | 18 | L1000*W35*H79 |
| EM-EH-GG-1500 | 24 | L1500*W35*H79 |